SurfTens Specifications and Comparison

|  | SurfTens | rame-hart 200 Series |
| --- | --- | --- |
| Accuracy | +/-0.1° | +/-0.1° |
| Resolution | 0.1° | 0.1° |
| Camera Resolution | 4032X3024 pixels | 720X540 pixels |
| Tilting | Standard (0-90°) | Optional (0-90°) |
| Portability | Very portable | Not portable |
| Instrument Dimension | 254x203x470 mm | 489x267x508 mm |
| Weight | 1.8kg | 6.1 kg |
| Backlight | LED | Fiber Optic Illuminator |
| Outdoor Operations | Yes | No |
| Camera Speed | 240 fps | 520 fps |
| Stage size | 26X76 mm | 51X76 mm |
| Power requirement | Rechargeable batteries | 110-240 VAC, 50-60 Hz |
| Measurement method | θ/2 method, ADSA using Image J in desktop computer | Built in proprietary software |
| Stage balancing and tilting | Use smartphone gyrometer | Manual balancing using 3 axis adjustment |
| Advancing and receding angle measurements | Manual dispensing of drops. Video capture for measurement | Manual / automated |